## Slide 1: Guidance for Practice Meeting on Discussing Antibiotics
The aim of this slide deck is to help Antibiotic Champions (or whomever leads antimicrobial stewardship at your practice) facilitate a practice meeting to review using point-of-care CRP testing.
The slides contain a summary of information about this strategy:
  Why and how to use POC CRP testing
Suggestions for use:
  Familiarise yourself with this slide deck
  Familiarise yourself with https://antibioticoptimisation.web.ox.ac.uk/
  Email the slides to all practice staff after the meeting & discuss them with those who couldn’t attend

## Slide 2: Using point-of-care C-reactive protein (POC CRP) testing Antibiotic Optimisation online resources (https://antibioticoptimisation.web.ox.ac.uk/)
Practice meeting
V1 Oct 2019

## Slide 3: CRP levels
CRP increases within 4-6 hours after the onset of inflammation, peaks at 36-90 hrs & drops rapidly after resolution (half-life of 4-7 hrs).
In uncomplicated infection the CRP level is usually below 10 mg/l after a week’s illness.
Most patients will have low CRP values; e.g.:
  77% of patients with cough had CRP below 20 mg/l (n=2,826) (Little et al., Lancet 2013)
  76% of patients with COPD exacerbations had CRP below 20 mg/l, with a median CRP of 6 mg/l (n=325) (Butler et al., New England Journal of Medicine 2019)

## Slide 4: POC CRP TESTING
WHY?
Useful in cases of clinical uncertainty
NICE Guidelines (CG191) recommend to use it to differentiate a serious (pneumonia) from self-limiting respiratory infection
Evidence shows it helps safely reduce antibiotic prescribing
Relatively quickly & easily provides additional diagnostic information
Provides feedback on your clinical judgement (helps benchmark your ‘gut feeling’)

## Slide 5: POC CRP TESTING
HOW? Two types of tests give more flexibility:
 | Afinion | SureScreen
CRP reading | Numeric result in the range: 5 to over 200 | Result as a line for CRP levels over: 10, 40 or 80
Time for the result | 3-4 minutes | 5 min (do not interpret the result after 8 minutes)
Practicalities | Cartridges need to be removed from the fridge at least 15 min before use or can be stored at room temp for 4 weeks. They need to be used within 10 min after opening the foil pouch. | Tests can be stored at room temp until expiration date printed on the pouch. The test must remain in the sealed pouch until use. Tests are portable.
For instructions on how to use each test see Antibiotic Optimisation website

## Slide 6: POC CRP TESTING
Interpreting the results

## Slide 7: Training task
Review the results of the training task
Afinion | SureScreen
Each prescriber to carry out a CRP test on 5 patients presenting with acute cough using the Afinion analyser. Record the CRP results on the summary sheet | Each prescriber to carry out a CRP test on 5 patients presenting with acute cough using the SureScreen CRP test.
What were the CRP values?
How helpful were the CRP tests in deciding whether antibiotics were needed?

## Slide 8: Review
In which scenarios have you used POC CRP tests?
How have you used the Afinion / SureScreen CRP tests in the practice?
Does anything need to change? E.g. how or when you use POC CRP tests?